## TypeParameter_Power
Medium Type: Power
AC compressed air energy storage
Internal Element Type | Member | Unit
ACCompressedAirEnergyStorage | alpha_w
ACCompressedAirEnergyStorage | Ar
ACCompressedAirEnergyStorage | ars
ACCompressedAirEnergyStorage | Asc
ACCompressedAirEnergyStorage | beta1
ACCompressedAirEnergyStorage | beta2
ACCompressedAirEnergyStorage | beta3
ACCompressedAirEnergyStorage | beta4
ACCompressedAirEnergyStorage | betahpt
ACCompressedAirEnergyStorage | betalpt
ACCompressedAirEnergyStorage | cp_air
ACCompressedAirEnergyStorage | cp_htf
ACCompressedAirEnergyStorage | cp_rs
ACCompressedAirEnergyStorage | cp_tes
ACCompressedAirEnergyStorage | delta_r
ACCompressedAirEnergyStorage | dinnerconcrete
ACCompressedAirEnergyStorage | dins
ACCompressedAirEnergyStorage | dsc
ACCompressedAirEnergyStorage | dtes
ACCompressedAirEnergyStorage | etac
ACCompressedAirEnergyStorage | etahpt
ACCompressedAirEnergyStorage | etahx
ACCompressedAirEnergyStorage | etalpt
ACCompressedAirEnergyStorage | hsc
ACCompressedAirEnergyStorage | htes
ACCompressedAirEnergyStorage | length_rs
ACCompressedAirEnergyStorage | nc
ACCompressedAirEnergyStorage | ntt
ACCompressedAirEnergyStorage | pa0
ACCompressedAirEnergyStorage | patm
ACCompressedAirEnergyStorage | phohtf
ACCompressedAirEnergyStorage | phors
ACCompressedAirEnergyStorage | photes
ACCompressedAirEnergyStorage | pmax
ACCompressedAirEnergyStorage | pmin
ACCompressedAirEnergyStorage | Rins
ACCompressedAirEnergyStorage | rsc
ACCompressedAirEnergyStorage | rtes
ACCompressedAirEnergyStorage | Rtes
ACCompressedAirEnergyStorage | Tct_air_in
ACCompressedAirEnergyStorage | Tenv
ACCompressedAirEnergyStorage | Thtf_in
ACCompressedAirEnergyStorage | Vsc
ACCompressedAirEnergyStorage | Vtes
ACCompressedAirEnergyStorage | xmair_c
ACCompressedAirEnergyStorage | xmair_t
AC disperse generator
Internal Element Type | Member | Unit
ACDisperseGenerator | Anzahl
ACDisperseGenerator | AssessmentAt
ACDisperseGenerator | AssessmentTime
ACDisperseGenerator | bIEC
ACDisperseGenerator | capacitive
ACDisperseGenerator | ConnectionFrameTemplateName
ACDisperseGenerator | ConnectionType
ACDisperseGenerator | CosPhiCntrlSide
ACDisperseGenerator | CosPhiSet
ACDisperseGenerator | Cosr
ACDisperseGenerator | Cosset
ACDisperseGenerator | DIPmax
ACDisperseGenerator | DIQmax
ACDisperseGenerator | DIQmin
ACDisperseGenerator | DynamicGenTableType
ACDisperseGenerator | EOper
ACDisperseGenerator | F_in_Hz
ACDisperseGenerator | FlickerActive
ACDisperseGenerator | FrequencyDependence
ACDisperseGenerator | HarmonicSource
ACDisperseGenerator | IECPS_Type
ACDisperseGenerator | Ik1max | kA
ACDisperseGenerator | Ik1min | kA
ACDisperseGenerator | Ik2max | kA
ACDisperseGenerator | Ik2min | kA
ACDisperseGenerator | IkPFmax
ACDisperseGenerator | ikWDmax
ACDisperseGenerator | IsCosCntrlSetCap
ACDisperseGenerator | IsCosPhiEnable
ACDisperseGenerator | Iset
ACDisperseGenerator | IsHarmonicSource
ACDisperseGenerator | ISkPF1p
ACDisperseGenerator | ISkPF2p
ACDisperseGenerator | ISkPF2pE
ACDisperseGenerator | ISkPF3p
ACDisperseGenerator | Isolated
ACDisperseGenerator | iWDmax
ACDisperseGenerator | KappaWD
ACDisperseGenerator | Kpc
ACDisperseGenerator | MinimumSCCheck
ACDisperseGenerator | MWTcwp
ACDisperseGenerator | nHydroPlantType
ACDisperseGenerator | nProductionType
ACDisperseGenerator | nWindPlantType
ACDisperseGenerator | PhaseType
ACDisperseGenerator | PowerQualityCouplingBusbar
ACDisperseGenerator | Priority
ACDisperseGenerator | Proz_wert
ACDisperseGenerator | Pset
ACDisperseGenerator | PUCtrlActive
ACDisperseGenerator | PUCtrlUknee
ACDisperseGenerator | PUCtrlUlimit
ACDisperseGenerator | Qset
ACDisperseGenerator | R0toX0
ACDisperseGenerator | R0zuX0_max
ACDisperseGenerator | R1toX1_max
ACDisperseGenerator | R1toX1_min
ACDisperseGenerator | R2zuX2_max
ACDisperseGenerator | RelIdeal
ACDisperseGenerator | RelLoadChar
ACDisperseGenerator | RelPriority
ACDisperseGenerator | RelType
ACDisperseGenerator | RemoteControl
ACDisperseGenerator | ScalingType
ACDisperseGenerator | SCG74Check
ACDisperseGenerator | SCReversible
ACDisperseGenerator | ScTimeDec | ms
ACDisperseGenerator | Sim_fak_var
ACDisperseGenerator | Sk2max | MVA
ACDisperseGenerator | Sk2min | MVA
ACDisperseGenerator | SkUnbalance
ACDisperseGenerator | Sl_anteil
ACDisperseGenerator | Sr
ACDisperseGenerator | Srspsg
ACDisperseGenerator | Sset
ACDisperseGenerator | StaticGenAsHarmSource
ACDisperseGenerator | StaticGeneratorType
ACDisperseGenerator | Tg
ACDisperseGenerator | Tic
ACDisperseGenerator | Tpll
ACDisperseGenerator | Two
ACDisperseGenerator | TypeLF
ACDisperseGenerator | UnbalanceLimit
ACDisperseGenerator | Units
ACDisperseGenerator | Upll1
ACDisperseGenerator | Upll2
ACDisperseGenerator | Ur
ACDisperseGenerator | UseCosphi
ACDisperseGenerator | Uset
ACDisperseGenerator | Uwset
ACDisperseGenerator | VoltageUnbalance
ACDisperseGenerator | Xs
ACDisperseGenerator | Z0toZ1
ACDisperseGenerator | Z0zuZ1_max
ACDisperseGenerator | Z2zuZ1_max
AC fly wheel
Internal Element Type | Member | Unit
ACFlyWheel | Jfw
ACFlyWheel | Jm
ACFlyWheel | KE
ACFlyWheel | p
ACFlyWheel | Pset
ACFlyWheel | PSIF
ACFlyWheel | Qset
ACFlyWheel | RemoteControl
ACFlyWheel | Rs
ACFlyWheel | Sl_portion
ACFlyWheel | Sr
ACFlyWheel | TypeLF
ACFlyWheel | Ur
ACFlyWheel | Uset
ACFlyWheel | Uwset
ACFlyWheel | Xd
ACFlyWheel | Xq
Asynchronous machine
Internal Element Type | Member | Unit
AsynchronousMachine | AssessmentAt
AsynchronousMachine | AssessmentTime
AsynchronousMachine | CalcEquivCircuitParameter
AsynchronousMachine | calculatedCos
AsynchronousMachine | calculatedI
AsynchronousMachine | calculatedMe
AsynchronousMachine | ChangePmech
AsynchronousMachine | CharacteristicAt100Voltage
AsynchronousMachine | CharacteristicAt80Voltage
AsynchronousMachine | CharFromMSCalc
AsynchronousMachine | checkgridA
AsynchronousMachine | checkgridB
AsynchronousMachine | ColdStallTime
AsynchronousMachine | ConnectionFrameTemplateName
AsynchronousMachine | CosCntrlPlimit
AsynchronousMachine | CosCntrlPmax
AsynchronousMachine | CosCntrlPmin
AsynchronousMachine | CosPhi
AsynchronousMachine | CosPhiCntrlType
AsynchronousMachine | CosPhiMax
AsynchronousMachine | CosPhiMin
AsynchronousMachine | CosPhiOper
AsynchronousMachine | CosPhiStartup
AsynchronousMachine | CrowBarIrotMax
AsynchronousMachine | CrowBarRc
AsynchronousMachine | CrowBarTpickup
AsynchronousMachine | CrowBarTreset
AsynchronousMachine | CrowBarXc
AsynchronousMachine | DfigInputTypePQS
AsynchronousMachine | DfigPtot
AsynchronousMachine | DfigQtot
AsynchronousMachine | DfigSlip
AsynchronousMachine | DfigTorque
AsynchronousMachine | DfigTorqueFromCurve
AsynchronousMachine | DfigUseAsmMinCosPhi
AsynchronousMachine | Dgenerator
AsynchronousMachine | Dshaft
AsynchronousMachine | Dturbine
AsynchronousMachine | Eta
AsynchronousMachine | F_in_Hz
AsynchronousMachine | FactorANSI
AsynchronousMachine | FireAngle
AsynchronousMachine | FlickerActive
AsynchronousMachine | FreqShaftReso
AsynchronousMachine | FrequencyDependence
AsynchronousMachine | GridControlProtection
AsynchronousMachine | H
AsynchronousMachine | HarmonicSource
AsynchronousMachine | Hfraq
AsynchronousMachine | HotStallTime
AsynchronousMachine | ikWDmax
AsynchronousMachine | Ir | kA
AsynchronousMachine | IsConverterFeeded
AsynchronousMachine | IsCosMaxCap
AsynchronousMachine | IsCosMinCap
AsynchronousMachine | IsCosOperCap
AsynchronousMachine | IsDoubleFed
AsynchronousMachine | IsHarmonicSource
AsynchronousMachine | IsIrInput
AsynchronousMachine | IsStartingUp
AsynchronousMachine | IsToIr
AsynchronousMachine | IsToIrWithStartupDevice
AsynchronousMachine | IsVariableLoad
AsynchronousMachine | iWDmax
AsynchronousMachine | J
AsynchronousMachine | KappaWD
AsynchronousMachine | LfType
AsynchronousMachine | LOADCHAROPER
AsynchronousMachine | LoadTorqueCharType
AsynchronousMachine | LoadTorqueGivenAs
AsynchronousMachine | LoadTorqueType
AsynchronousMachine | M0
AsynchronousMachine | M1
AsynchronousMachine | M2
AsynchronousMachine | MinimumSCCheck
AsynchronousMachine | MkToMr
AsynchronousMachine | MotorCharacteristic
AsynchronousMachine | Mr | Nm
AsynchronousMachine | MsToMr
AsynchronousMachine | nHydroPlantType
AsynchronousMachine | nProductionType
AsynchronousMachine | Nr
AsynchronousMachine | NumParallel
AsynchronousMachine | NumPolepair
AsynchronousMachine | nWindPlantType
AsynchronousMachine | ParabolaValuesInNM
AsynchronousMachine | PhaseType
AsynchronousMachine | Pmech | MW
AsynchronousMachine | PmechEqualsPrmech
AsynchronousMachine | Poper | MW
AsynchronousMachine | PowerQualityCouplingBusbar
AsynchronousMachine | Pr | MW
AsynchronousMachine | predefinedCos
AsynchronousMachine | predefinedI
AsynchronousMachine | predefinedMe
AsynchronousMachine | predefinedMl
AsynchronousMachine | Proz_wert
AsynchronousMachine | Qoper | Mvar
AsynchronousMachine | R0
AsynchronousMachine | R1ToZr
AsynchronousMachine | R2
AsynchronousMachine | RelIdeal
AsynchronousMachine | RelLoadCharact
AsynchronousMachine | RelPriority
AsynchronousMachine | RelType
AsynchronousMachine | ReversConverter
AsynchronousMachine | Rmotor | Ohm
AsynchronousMachine | RotorSteadyStateR
AsynchronousMachine | RotorVolatgeControllerID
AsynchronousMachine | RsToRr
AsynchronousMachine | ScalingType
AsynchronousMachine | SCG74Check
AsynchronousMachine | ServiceFactor
AsynchronousMachine | ShowHotColdRatio
AsynchronousMachine | SkUnbalance
AsynchronousMachine | SlipInitMode
AsynchronousMachine | SlipRated | %
AsynchronousMachine | SoftStartIe
AsynchronousMachine | SoftStartIs
AsynchronousMachine | SoftStartIsKick
AsynchronousMachine | SoftStartIsLim
AsynchronousMachine | SoftStartIsLimit
AsynchronousMachine | SoftStartKick
AsynchronousMachine | SoftStartMode
AsynchronousMachine | SoftStartRampTime
AsynchronousMachine | SoftStartRampTimeKick
AsynchronousMachine | SoftStartUe
AsynchronousMachine | SoftStartUs
AsynchronousMachine | SoftStartUsKick
AsynchronousMachine | Sr | MVA
AsynchronousMachine | StartupBypassSlip
AsynchronousMachine | StartupBypassTime
AsynchronousMachine | StartupCascade
AsynchronousMachine | StartupDuration
AsynchronousMachine | StartupDurationAt80Voltage
AsynchronousMachine | StartUpDvice
AsynchronousMachine | StartUpRotorQc
AsynchronousMachine | StartUpRotorR
AsynchronousMachine | StartUpStatorR
AsynchronousMachine | StartUpStatorX
AsynchronousMachine | StartUpTime
AsynchronousMachine | StartUpTrafoSr
AsynchronousMachine | StartUpTrafoUkr
AsynchronousMachine | StartUpTrafoUr1
AsynchronousMachine | StartUpTrafoUr2
AsynchronousMachine | StartUpTrafoUrr
AsynchronousMachine | T_ac
AsynchronousMachine | TabelValuesInNM
AsynchronousMachine | TakeXRFromInput
AsynchronousMachine | TransientModelType
AsynchronousMachine | TurbineControllerID
AsynchronousMachine | UnbalanceLimit
AsynchronousMachine | UnitANSI
AsynchronousMachine | UnitsASM
AsynchronousMachine | UnitsASMbuffer
AsynchronousMachine | UnitsASMhistory
AsynchronousMachine | Ur | kV
AsynchronousMachine | UseDoubleMassModel
AsynchronousMachine | UseExaktModelforHA
AsynchronousMachine | UserDefinedCurve
AsynchronousMachine | UserDefinedCurveAt80
AsynchronousMachine | UseStartupSlipBypass
AsynchronousMachine | VoltageUnbalance
AsynchronousMachine | X0
AsynchronousMachine | X1ToZr
AsynchronousMachine | X2
AsynchronousMachine | XhToZr
AsynchronousMachine | XtoR
AsynchronousMachine | Zr | Ohm
Node
Internal Element Type | Member | Unit
Busbar | EquipmentType
Busbar | Fn | Hz
Busbar | GapConductors
Busbar | InStationType
Busbar | Ipmax | kA
Busbar | Ir | kA
Busbar | IsDistProtNode
Busbar | NodeType
Busbar | R_Ground | Ohm
Busbar | RelAccessTime
Busbar | RelaisTripTime | s
Busbar | RelFailureGroup
Busbar | RelIdeal
Busbar | RelIndicatorSC
Busbar | RelProtectionType
Busbar | RelSwBayCfgDef
Busbar | RelSwBayRemoteContr
Busbar | RelSwBayRemoteOpen
Busbar | RelSwBayUseDefault
Busbar | RelTimeManualSwitching
Busbar | RelTypeBusbar
Busbar | RelTypeCircuitBreaker
Busbar | RelTypeDiscSwitch
Busbar | RelUseDefaultAccessTime
Busbar | RelUseDefaultTimeManual
Busbar | TopologicalNodeID
Busbar | tripTimeDP
Busbar | Umax | %
Busbar | Umin | %
Busbar | Un | kV
Busbar | Uset | %
Busbar coupler
Internal Element Type | Member | Unit
BusbarCoupler | ActiveForBusbarProtection
BusbarCoupler | IpMax | kA
BusbarCoupler | Ir | kA
BusbarCoupler | IsRemoteCntl
BusbarCoupler | R0 | mOhm
BusbarCoupler | R1 | mOhm
BusbarCoupler | RelIdeal
BusbarCoupler | RelType
BusbarCoupler | SwitchbayConfig
BusbarCoupler | TLT
BusbarCoupler | X0 | mOhm
BusbarCoupler | X1 | mOhm
Circuit breaker
Internal Element Type | Member | Unit
CircuitBreaker | ActiveForBusbarProtection
CircuitBreaker | CBType
CircuitBreaker | CosPhiTest
CircuitBreaker | CurrentLimiting
CircuitBreaker | cycles
CircuitBreaker | Energy10
CircuitBreaker | Energy100
CircuitBreaker | Energy1000
CircuitBreaker | I2
CircuitBreaker | IbMax | kA
CircuitBreaker | Ik2Max | kA
CircuitBreaker | IpMax | kA
CircuitBreaker | Ir | A
CircuitBreaker | IsDisconnectingCircuitBreaker
CircuitBreaker | IsRemoteCntl
CircuitBreaker | Kfactor
CircuitBreaker | R0 | mOhm
CircuitBreaker | R1 | mOhm
CircuitBreaker | RelAutoFaultLocAccuracy
CircuitBreaker | RelAutoFaultLocUseDefault
CircuitBreaker | RelHasAutoFaultLoc
CircuitBreaker | RelIdeal
CircuitBreaker | RelType
CircuitBreaker | StandardType
CircuitBreaker | TypeDescription
CircuitBreaker | TypeName
CircuitBreaker | Ur | kV
CircuitBreaker | X0 | mOhm
CircuitBreaker | X1 | mOhm
Circuit breaker On Elem
Internal Element Type | Member | Unit
CircuitBreakerOnElem | ActiveForBusbarProtection
CircuitBreakerOnElem | CBType
CircuitBreakerOnElem | CosPhiTest
CircuitBreakerOnElem | CurrentLimiting
CircuitBreakerOnElem | cycles
CircuitBreakerOnElem | Energy10
CircuitBreakerOnElem | Energy100
CircuitBreakerOnElem | Energy1000
CircuitBreakerOnElem | I2
CircuitBreakerOnElem | IbMax | kA
CircuitBreakerOnElem | Ik2Max | kA
CircuitBreakerOnElem | IpMax | kA
CircuitBreakerOnElem | Ir | A
CircuitBreakerOnElem | IsDisconnectingCircuitBreaker
CircuitBreakerOnElem | IsRemoteCntl
CircuitBreakerOnElem | Kfactor
CircuitBreakerOnElem | R0 | mOhm
CircuitBreakerOnElem | R1 | mOhm
CircuitBreakerOnElem | RelAutoFaultLocAccuracy
CircuitBreakerOnElem | RelAutoFaultLocUseDefault
CircuitBreakerOnElem | RelHasAutoFaultLoc
CircuitBreakerOnElem | RelIdeal
CircuitBreakerOnElem | RelType
CircuitBreakerOnElem | StandardType
CircuitBreakerOnElem | SwitchbayConfig
CircuitBreakerOnElem | TypeDescription
CircuitBreakerOnElem | TypeName
CircuitBreakerOnElem | Ur | kV
CircuitBreakerOnElem | X0 | mOhm
CircuitBreakerOnElem | X1 | mOhm
Composite load
Internal Element Type | Member | Unit
CompositeLoad | F_in_Hz
CompositeLoad | FrequencyDependence
CompositeLoad | HarmonicSource
CompositeLoad | IsHarmonicSource
CompositeLoad | Proz_wert
Current transformer
Internal Element Type | Member | Unit
CurrentTransformer | ALF
CurrentTransformer | CableLength
CurrentTransformer | CableR
CurrentTransformer | CableType
CurrentTransformer | CableX
CurrentTransformer | CE
CurrentTransformer | CON
CurrentTransformer | CONAT
CurrentTransformer | EXCCURV
CurrentTransformer | HasMultiratio
CurrentTransformer | Ir1
CurrentTransformer | Ir2
CurrentTransformer | IsActive
CurrentTransformer | IthLF
CurrentTransformer | IthSC
CurrentTransformer | Knee
CurrentTransformer | L
CurrentTransformer | LAMREM
CurrentTransformer | NP
CurrentTransformer | OffsetDC
CurrentTransformer | PFREL
CurrentTransformer | Rct
CurrentTransformer | SB
CurrentTransformer | StandardType
CurrentTransformer | TypeCT
CurrentTransformer | Unit
CurrentTransformer | VAREL
CurrentTransformer | Vr
Customer connection
Internal Element Type | Member | Unit
CustomerConnection | AnalyticalMethod
CustomerConnection | AssessmentAt
CustomerConnection | BurstImpulseDuration
CustomerConnection | BurstImpulsePause
CustomerConnection | BurstStartsPerMin
CustomerConnection | CalculationFromSingle
CustomerConnection | CoeffAlpha
CustomerConnection | Commutation
CustomerConnection | Compensation
CustomerConnection | CompSteps
CustomerConnection | ConnectionBorder
CustomerConnection | ConstantLoadChange
CustomerConnection | ConverterFrequencyFrom
CustomerConnection | ConverterFrequencyTo
CustomerConnection | ConvSr
CustomerConnection | Cosphiret
CustomerConnection | CustFax
CustomerConnection | CustName1
CustomerConnection | CustName2
CustomerConnection | CustName3
CustomerConnection | CustTel
CustomerConnection | DeltaU
CustomerConnection | DetunedMode
CustomerConnection | DeviceClassif
CustomerConnection | DeviceManufacturer
CustomerConnection | DeviceType
CustomerConnection | DLim
CustomerConnection | DLimGen
CustomerConnection | fD
CustomerConnection | Flicker
CustomerConnection | FormFactor
CustomerConnection | fS
CustomerConnection | GenerationCosPhiFundHarm
CustomerConnection | GenerationPnE
CustomerConnection | GenerationPowerFactor
CustomerConnection | GenerationSnE
CustomerConnection | Harmonics
CustomerConnection | HasAbsorptionCircuit
CustomerConnection | HasBurstFringControl
CustomerConnection | HasFrequencyConverter
CustomerConnection | HasOwnTransformer
CustomerConnection | HasPhaseControl
CustomerConnection | HasPulseControl
CustomerConnection | HasTreePhasePowerControl
CustomerConnection | Ia
CustomerConnection | IsCosPhiLoadInductive
CustomerConnection | IsGenerationCosPhiInductive
CustomerConnection | IsGenerationStation
CustomerConnection | IsMotor
CustomerConnection | IsOtherDevice
CustomerConnection | IsStarDeltaStarting
CustomerConnection | IsStartingUnderLoad
CustomerConnection | IsStartUpCosPhiInductive
CustomerConnection | IsSwitchingCosPhiInductive
CustomerConnection | IsWeldingMachine
CustomerConnection | IsWindTurbine
CustomerConnection | LimitPlt
CustomerConnection | LimitPst
CustomerConnection | LoadAngleCosPhiLoad
CustomerConnection | Measurements
CustomerConnection | MotorCosPhiStart
CustomerConnection | MotorIr
CustomerConnection | MotorRatioStart
CustomerConnection | MotorSr
CustomerConnection | MotorUr
CustomerConnection | NetworkFeedThrough
CustomerConnection | Number
CustomerConnection | NumberOfGenerators
CustomerConnection | OperPeriod
CustomerConnection | OperWithConv
CustomerConnection | OtherDevice
CustomerConnection | Phase
CustomerConnection | PhasePuleNo
CustomerConnection | PodoubleCoupling
CustomerConnection | PowerControl
CustomerConnection | PulseFrequency
CustomerConnection | Qc
CustomerConnection | RepeatRate
CustomerConnection | ReqDate
CustomerConnection | RpCompensation
CustomerConnection | Sa
CustomerConnection | ScopeFax
CustomerConnection | ScopeName1
CustomerConnection | ScopeName2
CustomerConnection | ScopeName3
CustomerConnection | ScopeTel
CustomerConnection | SGr1
CustomerConnection | SGr2
CustomerConnection | Sret
CustomerConnection | StartMode
CustomerConnection | StartUpCosPhi
CustomerConnection | StartUpSs
CustomerConnection | SupplyFax
CustomerConnection | SupplyName1
CustomerConnection | SupplyName2
CustomerConnection | SupplyName3
CustomerConnection | SupplyTel
CustomerConnection | SwitchedCurrentFactor
CustomerConnection | SwitchedNetworkAngle
CustomerConnection | SwitchingCosPhi
CustomerConnection | SwitchingSz
CustomerConnection | TempReturnFeed
CustomerConnection | TransformerSr
CustomerConnection | TransformerUk
CustomerConnection | Uc
CustomerConnection | UcValue
CustomerConnection | Un
CustomerConnection | VectorGroup
CustomerConnection | Voltage
CustomerConnection | VoltageChange
CustomerConnection | VoltageRise
CustomerConnection | VoltageUnbalance
CustomerConnection | WeldingDutyCycle
CustomerConnection | WeldingPower
CustomerConnection | WindFlickerAngle
CustomerConnection | WindFlickerc
CustomerConnection | Windp10min
CustomerConnection | Windp1min
CustomerConnection | Windpmom
DC battery
Internal Element Type | Member | Unit
DCBattery | A
DCBattery | B
DCBattery | BatteryType
DCBattery | E0
DCBattery | Ir
DCBattery | K
DCBattery | Lb
DCBattery | Npar
DCBattery | Nser
DCBattery | ParametersInputType
DCBattery | Qexp
DCBattery | Qmax
DCBattery | Qnom
DCBattery | Qr
DCBattery | Rb
DCBattery | Rdouble
DCBattery | RemoteControlled
DCBattery | Uset
DCBattery | Vexp
DCBattery | Vfull
DCBattery | Vr
DC converter
Internal Element Type | Member | Unit
DCConverter | ConnectionFrameTemplateName
DCConverter | CurrentLimitsActive
DCConverter | Deltap
DCConverter | DR
DCConverter | DX
DCConverter | EnhancedModel
DCConverter | Erdknoten
DCConverter | F_in_Hz
DCConverter | FrequencyDependence
DCConverter | Gamma_min
DCConverter | Gamma_set
DCConverter | GammaFixToMin
DCConverter | GammaFixToSetVal
DCConverter | HarmonicSource
DCConverter | IDN
DCConverter | Im
DCConverter | Im_distrib
DCConverter | IsHarmonicSource
DCConverter | Isoll
DCConverter | L
DCConverter | Nbridge
DCConverter | Negativ_pol
DCConverter | PiwControl
DCConverter | Proz_wert
DCConverter | Psoll
DCConverter | Rectifier
DCConverter | ReqLoss
DCConverter | Rg
DCConverter | Serie_converter
DCConverter | Tap
DCConverter | TapLock
DCConverter | Tapmax
DCConverter | Tapmin
DCConverter | Tapr
DCConverter | Theta_ini
DCConverter | Theta_max
DCConverter | Theta_min
DCConverter | ThetaFixToSetVal
DCConverter | Trafo_included
DCConverter | UControl
DCConverter | UDION
DCConverter | Umode
DCConverter | Usoll
DCConverter | VDrop
DCConverter | Xc
DC converter 3 pole
Internal Element Type | Member | Unit
DCConverter3Pole | ConnectionFrameTemplateName
DCConverter3Pole | CurrentLimitsActive
DCConverter3Pole | Deltap
DCConverter3Pole | DR
DCConverter3Pole | DX
DCConverter3Pole | EnhancedModel
DCConverter3Pole | Erdknoten
DCConverter3Pole | F_in_Hz
DCConverter3Pole | FrequencyDependence
DCConverter3Pole | Gamma_min
DCConverter3Pole | Gamma_set
DCConverter3Pole | GammaFixToMin
DCConverter3Pole | GammaFixToSetVal
DCConverter3Pole | HarmonicSource
DCConverter3Pole | IDN
DCConverter3Pole | Im
DCConverter3Pole | Im_distrib
DCConverter3Pole | IsHarmonicSource
DCConverter3Pole | Isoll
DCConverter3Pole | L
DCConverter3Pole | Nbridge
DCConverter3Pole | Negativ_pol
DCConverter3Pole | PiwControl
DCConverter3Pole | Proz_wert
DCConverter3Pole | Psoll
DCConverter3Pole | Rectifier
DCConverter3Pole | ReqLoss
DCConverter3Pole | Rg
DCConverter3Pole | Serie_converter
DCConverter3Pole | Tap
DCConverter3Pole | TapLock
DCConverter3Pole | Tapmax
DCConverter3Pole | Tapmin
DCConverter3Pole | Tapr
DCConverter3Pole | Theta_ini
DCConverter3Pole | Theta_max
DCConverter3Pole | Theta_min
DCConverter3Pole | ThetaFixToSetVal
DCConverter3Pole | Trafo_included
DCConverter3Pole | UControl
DCConverter3Pole | UDION
DCConverter3Pole | Umode
DCConverter3Pole | Usoll
DCConverter3Pole | VDrop
DCConverter3Pole | Xc
DC fly wheel
Internal Element Type | Member | Unit
DCFlyWheel | armpaths
DCFlyWheel | BM
DCFlyWheel | Compound
DCFlyWheel | ExcitationType
DCFlyWheel | Ir
DCFlyWheel | Iset
DCFlyWheel | Jfw
DCFlyWheel | Jm
DCFlyWheel | KE
DCFlyWheel | KP
DCFlyWheel | KP1
DCFlyWheel | KP2
DCFlyWheel | La
DCFlyWheel | Lf1
DCFlyWheel | Lf2
DCFlyWheel | Lfi
DCFlyWheel | Lftype
DCFlyWheel | MachineConstants
DCFlyWheel | NC
DCFlyWheel | Nr
DCFlyWheel | PHIRES
DCFlyWheel | PHIRES1
DCFlyWheel | PHIRES2
DCFlyWheel | ppole
DCFlyWheel | Pr
DCFlyWheel | Pset
DCFlyWheel | Ra
DCFlyWheel | RemoteControlled
DCFlyWheel | Rf1
DCFlyWheel | Rf2
DCFlyWheel | Rfi
DCFlyWheel | RREOSa
DCFlyWheel | RREOSf
DCFlyWheel | RREOSf1
DCFlyWheel | RREOSf2
DCFlyWheel | Rset
DCFlyWheel | Ubrush
DCFlyWheel | Ur
DC fuel cell
Internal Element Type | Member | Unit
DCFuelCell | A
DCFuelCell | alpha
DCFuelCell | Area
DCFuelCell | Cdl
DCFuelCell | CFH2
DCFuelCell | CFO2
DCFuelCell | CTRL_MDLTYPE
DCFuelCell | CTRL_PARAM
DCFuelCell | CTRL_UFH2
DCFuelCell | CTRL_VACT
DCFuelCell | CTRL_VCONC
DCFuelCell | Eoc
DCFuelCell | EocN
DCFuelCell | FRH2
DCFuelCell | FRO2
DCFuelCell | i0
DCFuelCell | i1
DCFuelCell | i2
DCFuelCell | i3
DCFuelCell | imax
DCFuelCell | kanode
DCFuelCell | kcathode
DCFuelCell | n
DCFuelCell | numbCell
DCFuelCell | P
DCFuelCell | PH2
DCFuelCell | PH2O
DCFuelCell | PO2
DCFuelCell | RemoteControlled
DCFuelCell | Rint
DCFuelCell | T
DCFuelCell | UfH2
DCFuelCell | USet
DCFuelCell | V1
DCFuelCell | V2
DCFuelCell | V3
DCFuelCell | Vanode
DCFuelCell | Vcathode
DCFuelCell | wH2O
DCFuelCell | xH2
DCFuelCell | yO2
DCGround
Internal Element Type | Member | Unit
DCGround | C
DCGround | L
DCGround | R
DCLine
Internal Element Type | Member | Unit
DCLine | C | uF/km
DCLine | CableGroupType
DCLine | CableLibrarySubType
DCLine | CableLibraryType
DCLine | Cores
DCLine | Ir_def | A
DCLine | Ir_max | A
DCLine | Ir_mid | A
DCLine | Ir_min | A
DCLine | KDCFactor
DCLine | KInput
DCLine | L | mH/km
DCLine | LineOverLoadProtectionReq
DCLine | LineScProtectionReq
DCLine | LineType
DCLine | ManualInput
DCLine | Material
DCLine | MaxClearingTime
DCLine | MaxOperTemp | Â°
DCLine | MaxParallelSystems
DCLine | MaxTempAtEnd | Â°
DCLine | OperTemp | Â°
DCLine | ParallelLines
DCLine | ProtectionCheck
DCLine | ProtectionLibraryName
DCLine | ProtectionSubLibraryName
DCLine | Q | mm2
DCLine | R_pos | Ohm/km
DCLine | RatedTemp | Â°
DCLine | ReductionFac
DCLine | ReductionFactorIndex
DCLine | SecondProtectionLibraryName
DCLine | SecondProtectionSubLibraryName
DCLine | TotalReductionFactor
DCLine | Units
DCLine | Ur | kV
DC load
Internal Element Type | Member | Unit
DCLoad | Iset
DCLoad | Lftype
DCLoad | Pset
DCLoad | Rset
DC motor
Internal Element Type | Member | Unit
DCMotor | armpaths
DCMotor | BM
DCMotor | Compound
DCMotor | DecreaseSpeed
DCMotor | ExcitationType
DCMotor | Ir
DCMotor | Iset
DCMotor | J
DCMotor | KE
DCMotor | KP
DCMotor | KP1
DCMotor | KP2
DCMotor | L0f
DCMotor | Lf
DCMotor | Lf1
DCMotor | Lf2
DCMotor | Lfi
DCMotor | Lftype
DCMotor | Lm
DCMotor | MachineConstants
DCMotor | Mr
DCMotor | N0
DCMotor | NC
DCMotor | Nr
DCMotor | PHIRES
DCMotor | PHIRES1
DCMotor | PHIRES2
DCMotor | ppole
DCMotor | Pr
DCMotor | Pset
DCMotor | Rf
DCMotor | Rf1
DCMotor | Rf2
DCMotor | Rm
DCMotor | RREOSa
DCMotor | RREOSf
DCMotor | RREOSf1
DCMotor | RREOSf2
DCMotor | Rset
DCMotor | Ubrush
DCMotor | Ur
DC node
Internal Element Type | Member | Unit
DCNode | Faulted
DCNode | Fn | Hz
DCNode | Ir | A
DCNode | ProtType
DCNode | RelFailureGroup
DCNode | ReliabilityIdeal
DCNode | ReliabilityType
DCNode | SCIndicator
DCNode | TAccess
DCNode | TManual
DCNode | TTrip
DCNode | Umax | %
DCNode | Umin | %
DCNode | Un | kV
DCNode | UseDefaultTAccess
DCNode | UseDefaultTManual
DCNode | Usoll | %
DC photovoltaic
Internal Element Type | Member | Unit
DCPhotoVoltaic | alphaIsc
DCPhotoVoltaic | betaVoc
DCPhotoVoltaic | G
DCPhotoVoltaic | Gref
DCPhotoVoltaic | Ipp
DCPhotoVoltaic | Isc
DCPhotoVoltaic | n
DCPhotoVoltaic | Np
DCPhotoVoltaic | Ns
DCPhotoVoltaic | RemoteControlled
DCPhotoVoltaic | Rs
DCPhotoVoltaic | T
DCPhotoVoltaic | Tref
DCPhotoVoltaic | USet
DCPhotoVoltaic | Voc
DCPhotoVoltaic | Vpp
DC reactor
Internal Element Type | Member | Unit
DCReactor | L
DCReactor | R
DC Shunt
Internal Element Type | Member | Unit
DCShunt | C
DCShunt | Ec
DCShunt | L
DCShunt | LfType
DCShunt | R
DCShunt | Rc
DC voltage source
Internal Element Type | Member | Unit
DCVoltageSource | A
DCVoltageSource | B
DCVoltageSource | BatteryType
DCVoltageSource | E0
DCVoltageSource | Ikinput
DCVoltageSource | IkSCMax
DCVoltageSource | IkSCMin
DCVoltageSource | Ir
DCVoltageSource | K
DCVoltageSource | Lb
DCVoltageSource | Npar
DCVoltageSource | Nser
DCVoltageSource | ParametersInputType
DCVoltageSource | Qexp
DCVoltageSource | Qmax
DCVoltageSource | Qnom
DCVoltageSource | Qr
DCVoltageSource | Rb
DCVoltageSource | RemoteControlled
DCVoltageSource | Rint
DCVoltageSource | Uset
DCVoltageSource | Vexp
DCVoltageSource | Vfull
DCVoltageSource | Vr
DFIG
Internal Element Type | Member | Unit
DFIG | CalcEquivCircuitParameter
DFIG | calculatedCos
DFIG | calculatedI
DFIG | calculatedMe
DFIG | checkgridA
DFIG | checkgridB
DFIG | ConnectionFrameTemplateName
DFIG | CosCntrlPlimit
DFIG | CosCntrlPmax
DFIG | CosCntrlPmin
DFIG | CosPhi
DFIG | CosPhiMax
DFIG | CosPhiMin
DFIG | CosPhiStartup
DFIG | CrowBarIrotMax
DFIG | CrowBarRc
DFIG | CrowBarTpickup
DFIG | CrowBarTreset
DFIG | CrowBarXc
DFIG | DfigInputTypePQS
DFIG | DfigPtot
DFIG | DfigQtot
DFIG | DfigSlip
DFIG | DfigTorque
DFIG | DfigTorqueFromCurve
DFIG | DfigUseAsmMinCosPhi
DFIG | Dgenerator
DFIG | Dshaft
DFIG | Dturbine
DFIG | Eta
DFIG | F_in_Hz
DFIG | FactorANSI
DFIG | FreqShaftReso
DFIG | FrequencyDependence
DFIG | H
DFIG | HarmonicSource
DFIG | Hfraq
DFIG | ikWDmax
DFIG | Ir | kA
DFIG | IsConverterFeeded
DFIG | IsCosMaxCap
DFIG | IsCosMinCap
DFIG | IsHarmonicSource
DFIG | IsIrInput
DFIG | IsStartingUp
DFIG | IsToIr
DFIG | IsVariableLoad
DFIG | iWDmax
DFIG | J
DFIG | KappaWD
DFIG | LOADCHAROPER
DFIG | LoadTorqueCharType
DFIG | LoadTorqueType
DFIG | M0
DFIG | M1
DFIG | M2
DFIG | MkToMr
DFIG | MotorCharacteristic
DFIG | Mr | Nm
DFIG | MsToMr
DFIG | nProductionType
DFIG | NumParallel
DFIG | NumPolepair
DFIG | nWindPlantType
DFIG | ParabolaValuesInNM
DFIG | Pmech | MW
DFIG | Pr | MW
DFIG | predefinedCos
DFIG | predefinedI
DFIG | predefinedMe
DFIG | Proz_wert
DFIG | R0
DFIG | R1ToZr
DFIG | R2
DFIG | RelIdeal
DFIG | RelLoadCharact
DFIG | RelPriority
DFIG | RelType
DFIG | ReversConverter
DFIG | Rmotor | Ohm
DFIG | RotorSteadyStateR
DFIG | RotorVolatgeControllerID
DFIG | RsToRr
DFIG | ScalingType
DFIG | SlipRated | %
DFIG | SoftStartIe
DFIG | SoftStartIs
DFIG | SoftStartIsKick
DFIG | SoftStartIsLim
DFIG | SoftStartIsLimit
DFIG | SoftStartKick
DFIG | SoftStartMode
DFIG | SoftStartRampTime
DFIG | SoftStartRampTimeKick
DFIG | SoftStartUe
DFIG | SoftStartUs
DFIG | SoftStartUsKick
DFIG | Sr | MVA
DFIG | StartupBypassSlip
DFIG | StartupBypassTime
DFIG | StartupCascade
DFIG | StartUpDvice
DFIG | StartUpRotorQc
DFIG | StartUpRotorR
DFIG | StartUpStatorR
DFIG | StartUpStatorX
DFIG | StartUpTime
DFIG | StartUpTrafoSr
DFIG | StartUpTrafoUkr
DFIG | StartUpTrafoUr1
DFIG | StartUpTrafoUr2
DFIG | StartUpTrafoUrr
DFIG | T_ac
DFIG | TabelValuesInNM
DFIG | TurbineControllerID
DFIG | UnitANSI
DFIG | UnitsASM
DFIG | UnitsASMbuffer
DFIG | UnitsASMhistory
DFIG | Ur | kV
DFIG | UseDoubleMass
DFIG | UseExaktModelforHA
DFIG | UseStartupSlipBypass
DFIG | X0
DFIG | X1ToZr
DFIG | X2
DFIG | XhToZr
DFIG | Zr | Ohm
DISCON_SYM
Internal Element Type | Member | Unit
Disconnect Switch
Internal Element Type | Member | Unit
DisconnectSwitch | IbMax | kA
DisconnectSwitch | Ik2Max | kA
DisconnectSwitch | IpMax | kA
DisconnectSwitch | Ir | kA
DisconnectSwitch | IsRemoteCntl
DisconnectSwitch | IsRemoteOpen
DisconnectSwitch | IsSectionalizer
DisconnectSwitch | R0 | mOhm
DisconnectSwitch | R1 | mOhm
DisconnectSwitch | RelIdeal
DisconnectSwitch | RelType
DisconnectSwitch | Ur | kV
DisconnectSwitch | X0 | mOhm
DisconnectSwitch | X1 | mOhm
Disconnect Switch On Elem
Internal Element Type | Member | Unit
DisconnectSwitchOnElem | IbMax | kA
DisconnectSwitchOnElem | Ik2Max | kA
DisconnectSwitchOnElem | IpMax | kA
DisconnectSwitchOnElem | Ir | kA
DisconnectSwitchOnElem | IsRemoteCntl
DisconnectSwitchOnElem | IsRemoteOpen
DisconnectSwitchOnElem | IsSectionalizer
DisconnectSwitchOnElem | R0 | mOhm
DisconnectSwitchOnElem | R1 | mOhm
DisconnectSwitchOnElem | RelIdeal
DisconnectSwitchOnElem | RelType
DisconnectSwitchOnElem | Ur | kV
DisconnectSwitchOnElem | X0 | mOhm
DisconnectSwitchOnElem | X1 | mOhm
Distance Relay
Internal Element Type | Member | Unit
DistanceRelais | IsActive
Earth conductor
Internal Element Type | Member | Unit
Earthing system
Internal Element Type | Member | Unit
EarthingSystem | EarthSide1
EarthingSystem | EarthSide2
EarthingSystem | EarthSide3
EarthingSystem | EarthSide4
EarthingSystem | Re
EarthingSystem | Xe
EarthingSystem | Ze_activ
Earth Switch
Internal Element Type | Member | Unit
EarthSwitch | Iamax
EarthSwitch | Ik2max
EarthSwitch | Ipmax
EarthSwitch | Ir
EarthSwitch | R0
EarthSwitch | R1
EarthSwitch | RemoteControlled
EarthSwitch | Ur
EarthSwitch | X0
EarthSwitch | X1
EnergyStorage
Internal Element Type | Member | Unit
EnergyStorage | Anzahl
EnergyStorage | AssessmentAt
EnergyStorage | AssessmentTime
EnergyStorage | bIEC
EnergyStorage | capacitive
EnergyStorage | ConnectionType
EnergyStorage | CosPhiCntrlSide
EnergyStorage | CosPhiSet
EnergyStorage | Cosr
EnergyStorage | Cosset
EnergyStorage | Eini
EnergyStorage | Emax
EnergyStorage | EOper
EnergyStorage | EtaIn
EnergyStorage | EtaOut
EnergyStorage | F_in_Hz
EnergyStorage | FlickerActive
EnergyStorage | FrequencyDependence
EnergyStorage | HarmonicSource
EnergyStorage | IECPS_Type
EnergyStorage | Ik1max | kA
EnergyStorage | Ik1min | kA
EnergyStorage | Ik2max | kA
EnergyStorage | Ik2min | kA
EnergyStorage | IkPFmax
EnergyStorage | ikWDmax
EnergyStorage | IsCosCntrlSetCap
EnergyStorage | IsCosPhiEnable
EnergyStorage | Iset
EnergyStorage | IsHarmonicSource
EnergyStorage | ISkPF1p
EnergyStorage | ISkPF2p
EnergyStorage | ISkPF2pE
EnergyStorage | ISkPF3p
EnergyStorage | Isolated
EnergyStorage | iWDmax
EnergyStorage | KappaWD
EnergyStorage | MinimumSCCheck
EnergyStorage | PhaseType
EnergyStorage | Pinmax
EnergyStorage | Poutmax
EnergyStorage | PowerBalance
EnergyStorage | PowerQualityCouplingBusbar
EnergyStorage | Priority
EnergyStorage | Proz_wert
EnergyStorage | Pset
EnergyStorage | PUCtrlActive
EnergyStorage | PUCtrlUknee
EnergyStorage | PUCtrlUlimit
EnergyStorage | Qset
EnergyStorage | R0toX0
EnergyStorage | R0zuX0_max
EnergyStorage | R1toX1_max
EnergyStorage | R1toX1_min
EnergyStorage | R2zuX2_max
EnergyStorage | RelIdeal
EnergyStorage | RelLoadChar
EnergyStorage | RelPriority
EnergyStorage | RelType
EnergyStorage | RemoteControl
EnergyStorage | ScalingType
EnergyStorage | SCG74Check
EnergyStorage | SCReversible
EnergyStorage | ScTimeDec | ms
EnergyStorage | Sim_fak_var
EnergyStorage | Sk2max | MVA
EnergyStorage | Sk2min | MVA
EnergyStorage | SkUnbalance
EnergyStorage | Sl_anteil
EnergyStorage | Sr
EnergyStorage | Srspsg
EnergyStorage | Sset
EnergyStorage | StaticGenAsHarmSource
EnergyStorage | TypeLF
EnergyStorage | UnbalanceLimit
EnergyStorage | Units
EnergyStorage | Ur
EnergyStorage | Uset
EnergyStorage | Uwset
EnergyStorage | VoltageUnbalance
EnergyStorage | Z0toZ1
EnergyStorage | Z0zuZ1_max
EnergyStorage | Z2zuZ1_max
EquivalentSerieLF
Internal Element Type | Member | Unit
EquivalentSerieLF | R12_1 | Ohm
EquivalentSerieLF | R21_1 | Ohm
EquivalentSerieLF | X12_1 | Ohm
EquivalentSerieLF | X21_1 | Ohm
EquivalentSerieSC
Internal Element Type | Member | Unit
EquivalentSerieSC | R12_0 | Ohm
EquivalentSerieSC | R12_1 | Ohm
EquivalentSerieSC | R12_2 | Ohm
EquivalentSerieSC | R21_0 | Ohm
EquivalentSerieSC | R21_1 | Ohm
EquivalentSerieSC | R21_2 | Ohm
EquivalentSerieSC | X12_0 | Ohm
EquivalentSerieSC | X12_1 | Ohm
EquivalentSerieSC | X12_2 | Ohm
EquivalentSerieSC | X21_0 | Ohm
EquivalentSerieSC | X21_1 | Ohm
EquivalentSerieSC | X21_2 | Ohm
Equivalent shunt LF
Internal Element Type | Member | Unit
EquivalentShuntLF | Pgen | MW
EquivalentShuntLF | Ploa | MW
EquivalentShuntLF | Qgen | Mvar
EquivalentShuntLF | Qloa | Mvar
EquivalentShuntLF | R1 | Ohm
EquivalentShuntLF | X1 | Ohm
EquivalentShuntSC
Internal Element Type | Member | Unit
EquivalentShuntSC | R0 | Ohm
EquivalentShuntSC | R1 | Ohm
EquivalentShuntSC | R2 | Ohm
EquivalentShuntSC | X0 | Ohm
EquivalentShuntSC | X1 | Ohm
EquivalentShuntSC | X2 | Ohm
ExternalGrid
Internal Element Type | Member | Unit
ExternalGrid | AngleOper | %
ExternalGrid | C1
ExternalGrid | CostFac1
ExternalGrid | CostFac2
ExternalGrid | CostFac3
ExternalGrid | CostMultFac
ExternalGrid | EOper | pu
ExternalGrid | FrequencyDependence
ExternalGrid | IEC
ExternalGrid | Ik1Max | kA
ExternalGrid | Ik1Min | kA
ExternalGrid | Ik2Max | kA
ExternalGrid | Ik2Min | kA
ExternalGrid | IsVariableLoad
ExternalGrid | nProductionType
ExternalGrid | Poper | MW
ExternalGrid | PortionSL | %
ExternalGrid | Priority
ExternalGrid | Proz_wert
ExternalGrid | Qoper | Mvar
ExternalGrid | R0toX0max
ExternalGrid | R0toX0min
ExternalGrid | R1toX1max
ExternalGrid | R1toX1min
ExternalGrid | RelIdeal
ExternalGrid | RelLoadCharact
ExternalGrid | RelType
ExternalGrid | RemoteControl
ExternalGrid | ScTimeDec | ms
ExternalGrid | Sk2Max | MVA
ExternalGrid | Sk2Min | MVA
ExternalGrid | TypeLF
ExternalGrid | Uoper | %
ExternalGrid | Z0toZ1max
ExternalGrid | Z0toZ1min
FaultIndicator
Internal Element Type | Member | Unit
FaultIndicator | DeleteAfterReSupply
FaultIndicator | FaultDescription
FaultIndicator | NameInserted
FaultIndicator | NameIsolated
FaultIndicator | NameNormalized
FaultIndicator | NameResupplied
FaultIndicator | StateInserted
FaultIndicator | StateIsolated
FaultIndicator | StateNormalized
FaultIndicator | StateResupplied
FaultIndicator | TimeInserted
FaultIndicator | TimeIsolated
FaultIndicator | TimeNormalized
FaultIndicator | TimeResupplied
Filter
Internal Element Type | Member | Unit
Filter | C | uF
Filter | C2 | uF
Filter | ConnectionType
Filter | Cs | uF
Filter | DampingFactor
Filter | F0 | Hz
Filter | FilterType
Filter | FrequencyDependence
Filter | G | pu
Filter | L | mH
Filter | L2 | mH
Filter | Ld | mH
Filter | Proz_wert
Filter | Qr | kvar
Filter | R2 | Ohm
Filter | Rd | Ohm
Filter | Rv | Ohm
Filter | Ur | kV
Frequency relay
Internal Element Type | Member | Unit
Function block
Internal Element Type | Member | Unit
FunctionBlock | Bitmap
FunctionBlock | CimType
FunctionBlock | InputVariable
FunctionBlock | IsUserDefined
FunctionBlock | NumInputPins
FunctionBlock | NumOutputPins
FunctionBlock | OutputVariable
FunctionBlock | PsseType
FunctionBlock | RegulatorName
FunctionBlock | RegulatorType
Fuse
Internal Element Type | Member | Unit
Fuse | CurrentLimiting
Fuse | Energy10
Fuse | Energy100
Fuse | Energy1000
Fuse | I2
Fuse | Ir
Fuse | IsActive
Fuse | ProtectionTypeID
Fuse | TypeDescription
Fuse | TypeName
Harmonic current source
Internal Element Type | Member | Unit
HarmonicCurrentSource | Ir | A
HarmonicVoltageSource
Internal Element Type | Member | Unit
HarmonicVoltageSource | Ur | V
Line
Internal Element Type | Member | Unit
Line | Active1
Line | Active2
Line | B10
Line | B11
Line | B20
Line | B21
Line | C0 | uF/km
Line | C1 | uF/km
Line | CableGroupType
Line | CableLibrarySubType
Line | CableLibraryType
Line | CableType
Line | Cores
Line | Dc | mm
Line | dC0Left
Line | dC0Right
Line | Dc1 | mm
Line | dC1Left
Line | dC1Right
Line | Dc2 | mm
Line | dG0Left
Line | dG0Right
Line | dG1Left
Line | dG1Right
Line | Dod | mm
Line | Ds | mm
Line | Er
Line | Frequency | Hz
Line | FrequencyDependence
Line | G1 | uS/km
Line | G10
Line | G11
Line | G20
Line | G21
Line | GMR1 | mm
Line | GMR2 | mm
Line | GMRc | mm
Line | GMRs | mm
Line | HasLineLoad
Line | IErMax | A
Line | IrLimit1 | A
Line | IrLimit2 | A
Line | IrLimit3 | A
Line | IrLimit4 | A
Line | IsSwitchable
Line | K
Line | KFactor
Line | KInput
Line | Layout
Line | LineOverLoadProtectionReq
Line | LineScProtectionReq
Line | LineType
Line | ManualInput
Line | Material
Line | MaterialCost
Line | MaxClearingTime
Line | MaxParallelSystems
Line | OperatingTemp | Â°
Line | OperatingTempMax | Â°
Line | ProtectionCheck
Line | ProtectionLibraryName
Line | ProtectionSubLibraryName
Line | Proz_wert
Line | Q | mm2
Line | QInKcMils
Line | R0 | Ohm/km
Line | R1 | Ohm/km
Line | RatedTemp | Â°
Line | Rc | Ohm/m
Line | Rc1 | Ohm/m
Line | Rc2 | Ohm/km
Line | ReductionFactor
Line | ReductionFactorIndex
Line | RelCommonMode
Line | RelIdeal
Line | RelType
Line | RelUseLineSectionData
Line | RGG | Ohm/km
Line | Rho | Ohm/m
Line | RhoE | Ohm/m
Line | RLG | Ohm/km
Line | RLN | Ohm/km
Line | RNN | Ohm/km
Line | Rs | Ohm/km
Line | SecondProtectionLibraryName
Line | SecondProtectionSubLibraryName
Line | ShuntActive1
Line | ShuntActive2
Line | T | mm
Line | TempAtEndOfSC | Â°
Line | TotalReductionFactor
Line | TypeDescription
Line | TypeName
Line | Unit
Line | Ur | kV
Line | UseAsymPi
Line | X0 | Ohm/km
Line | X1 | Ohm/km
Line | X1Cable | m
Line | X2Cable | m
Line | XGG | Ohm/km
Line | XL1 | m
Line | XL2 | m
Line | XL3 | m
Line | XLG | Ohm/km
Line | XLN | Ohm/km
Line | XNN | Ohm/km
Line | Y1Cable | m
Line | Y2Cable | m
Line | YL1 | m
Line | YL2 | m
Line | YL3 | m
LineAsym
Internal Element Type | Member | Unit
LineAsym | C_NN | Ohm/km
LineAsym | C_RN | Ohm/km
LineAsym | C_RR | Ohm/km
LineAsym | C_RS | Ohm/km
LineAsym | C_RT | Ohm/km
LineAsym | C_SN | Ohm/km
LineAsym | C_SS | Ohm/km
LineAsym | C_ST | Ohm/km
LineAsym | C_TN | Ohm/km
LineAsym | C_TT | Ohm/km
LineAsym | FrequencyDependence
LineAsym | IErMax | A
LineAsym | IrLimit1 | A
LineAsym | IrLimit2 | A
LineAsym | IrLimit3 | A
LineAsym | IrLimit4 | A
LineAsym | KAsyFactor
LineAsym | Layout
LineAsym | LineType
LineAsym | ManualInput
LineAsym | Material
LineAsym | OperatingTemp | Â°
LineAsym | OperatingTempMax | Â°
LineAsym | Proz_wert
LineAsym | Q | mm2
LineAsym | R_GG | Ohm/km
LineAsym | R_NG | Ohm/km
LineAsym | R_NN | Ohm/km
LineAsym | R_RG | Ohm/km
LineAsym | R_RN | Ohm/km
LineAsym | R_RR | Ohm/km
LineAsym | R_RS | Ohm/km
LineAsym | R_RT | Ohm/km
LineAsym | R_SG | Ohm/km
LineAsym | R_SN | Ohm/km
LineAsym | R_SS | Ohm/km
LineAsym | R_ST | Ohm/km
LineAsym | R_TG | Ohm/km
LineAsym | R_TN | Ohm/km
LineAsym | R_TT | Ohm/km
LineAsym | RatedTemp | Â°
LineAsym | ReductionFactor
LineAsym | RelIdeal
LineAsym | RelType
LineAsym | Switchable
LineAsym | TempAtEndOfSC | Â°
LineAsym | Unit
LineAsym | X_GG | Ohm/km
LineAsym | X_NG | Ohm/km
LineAsym | X_NN | Ohm/km
LineAsym | X_RG | Ohm/km
LineAsym | X_RN | Ohm/km
LineAsym | X_RR | Ohm/km
LineAsym | X_RS | Ohm/km
LineAsym | X_RT | Ohm/km
LineAsym | X_SG | Ohm/km
LineAsym | X_SN | Ohm/km
LineAsym | X_SS | Ohm/km
LineAsym | X_ST | Ohm/km
LineAsym | X_TG | Ohm/km
LineAsym | X_TN | Ohm/km
LineAsym | X_TT | Ohm/km
Line coupling
Internal Element Type | Member | Unit
LineCoupling | Permeab
LineCoupling | Rerd
LineCoupling | Verdrillt
Line loads
Internal Element Type | Member | Unit
Load
Internal Element Type | Member | Unit
Load | A0PDyn
Load | A0PLf
Load | A0QDyn
Load | A0QLf
Load | A1PDyn
Load | A1PLf
Load | A1QDyn
Load | A1QLf
Load | A2PDyn
Load | A2PLf
Load | A2QDyn
Load | A2QLf
Load | AssessmentAt
Load | AssessmentTime
Load | BS
Load | BT
Load | CFP
Load | CFQ
Load | ConnectionType
Load | CosPhi
Load | DomesticUnits
Load | DynamicLoadTableType
Load | DynamicModelSelection
Load | E | MWh
Load | EquivalentForHA
Load | F_in_Hz
Load | FlickerActive
Load | FrequencyDependence
Load | HarmonicSource
Load | I | kA
Load | InstalledkVA
Load | IsHarmonicSource
Load | IsVariableLoad
Load | LfType
Load | LS
Load | LT
Load | MinimumSCCheck
Load | N0PDyn
Load | N0PLf
Load | N0QDyn
Load | N0QLf
Load | N1PDyn
Load | N1PLf
Load | N1QDyn
Load | N1QLf
Load | N2PDyn
Load | N2PLf
Load | N2QDyn
Load | N2QLf
Load | NoVoltDepInLF
Load | P | MW
Load | P0 | MW
Load | PhaseType
Load | PowerQualityCouplingBusbar
Load | Proz_wert
Load | PStatic
Load | Q | Mvar
Load | Q0 | Mvar
Load | QStatic
Load | RelLoadCharact
Load | RelNumCustomers
Load | RelPriority
Load | RelType
Load | S | MVA
Load | ScalingType
Load | SCG74Check
Load | SkUnbalance
Load | TF
Load | TP
Load | TQ
Load | TV
Load | Ua1
Load | Ua2
Load | Ub1
Load | Ub2
Load | UnbalanceLimit
Load | Unit
Load | UseCosphi
Load | VelanderK1
Load | VelanderK2
Load | VoltageUnbalance
Load | VoltDepModel
Load switch
Internal Element Type | Member | Unit
LoadSwitch | IbMax | kA
LoadSwitch | Ik2Max | kA
LoadSwitch | IpMax | kA
LoadSwitch | Ir | kA
LoadSwitch | IsRemoteCntl
LoadSwitch | IsRemoteOpen
LoadSwitch | IsSectionalizer
LoadSwitch | R0 | mOhm
LoadSwitch | R1 | mOhm
LoadSwitch | RelIdeal
LoadSwitch | RelType
LoadSwitch | Ur | kV
LoadSwitch | X0 | mOhm
LoadSwitch | X1 | mOhm
Load switch On Elem
Internal Element Type | Member | Unit
LoadSwitchOnElem | IbMax | kA
LoadSwitchOnElem | Ik2Max | kA
LoadSwitchOnElem | IpMax | kA
LoadSwitchOnElem | Ir | kA
LoadSwitchOnElem | IsRemoteCntl
LoadSwitchOnElem | IsRemoteOpen
LoadSwitchOnElem | IsSectionalizer
LoadSwitchOnElem | R0 | mOhm
LoadSwitchOnElem | R1 | mOhm
LoadSwitchOnElem | RelIdeal
LoadSwitchOnElem | RelType
LoadSwitchOnElem | Ur | kV
LoadSwitchOnElem | X0 | mOhm
LoadSwitchOnElem | X1 | mOhm
Measurement Device
Internal Element Type | Member | Unit
MeasurementDevice | Icth
MeasurementDevice | ImaxL1
MeasurementDevice | ImaxL2
MeasurementDevice | ImaxL3
MeasurementDevice | IminL1
MeasurementDevice | IminL2
MeasurementDevice | IminL3
MeasurementDevice | IsActive
MeasurementDevice | IsPerPhase
MeasurementDevice | MixedModeMeasure
MeasurementDevice | PmaxL1
MeasurementDevice | PmaxL2
MeasurementDevice | PmaxL3
MeasurementDevice | PminL1
MeasurementDevice | PminL2
MeasurementDevice | PminL3
MeasurementDevice | QmaxL1
MeasurementDevice | QmaxL2
MeasurementDevice | QmaxL3
MeasurementDevice | QminL1
MeasurementDevice | QminL2
MeasurementDevice | QminL3
MeasurementDevice | UmaxL1
MeasurementDevice | UmaxL2
MeasurementDevice | UmaxL3
MeasurementDevice | UminL1
MeasurementDevice | UminL2
MeasurementDevice | UminL3
MeasurementDevice | Unit
MeasurementDevice | UseDataFromFile
MinMax relays on link
Internal Element Type | Member | Unit
MinMaxRelaisOnLink | IsActive
MinMaxRelaisOnLink | relayType
MinMax relays on node
Internal Element Type | Member | Unit
MinMaxRelaisOnNode | IsActive
MinMaxRelaisOnNode | relayType
Overcurrent Relay
Internal Element Type | Member | Unit
OvercurrentRelais | Ct0Name
OvercurrentRelais | CtName
OvercurrentRelais | DefaultTrippingFunction
OvercurrentRelais | Ir
OvercurrentRelais | IsActive
OvercurrentRelais | ProtectionTypeID
OvercurrentRelais | TypeDescription
OvercurrentRelais | TypeName
ParallelRLC
Internal Element Type | Member | Unit
ParallelRLC | C | uF
ParallelRLC | f0 | Hz
ParallelRLC | FrequencyDependence
ParallelRLC | g | pu
ParallelRLC | L | mH
ParallelRLC | p | %
ParallelRLC | Proz_wert
ParallelRLC | R | Ohm
ParallelRLC | Sr | kVA
ParallelRLC | Ur | kV
ParallelRLC | XRegID
PWM
Internal Element Type | Member | Unit
PWM | Cmax
PWM | Cmin
PWM | Cntr1
PWM | Cntr2
PWM | ConnectionFrameTemplateName
PWM | CregIni
PWM | CTheta
PWM | DSLType
PWM | ExtendedModel
PWM | Fr
PWM | IdleLosses
PWM | ILIM
PWM | InitCTheta
PWM | K
PWM | KLM
PWM | KLT
PWM | LinePort
PWM | MaxModulation
PWM | MaxUdc
PWM | MinUdc
PWM | R
PWM | RP
PWM | SetValue1
PWM | SetValue2
PWM | SN
PWM | SWB
PWM | SwLosses
PWM | TF
PWM | TFB
PWM | TFLM
PWM | TFLT
PWM | ThetaIni
PWM | Ti
PWM | TILM
PWM | TILT
PWM | UB1
PWM | UB2
PWM | UN
PWM | X
PWM | XC
PWM | XQ
PWM | XT
PWM | Z
PWM 3-Pole
Internal Element Type | Member | Unit
PWM3Pole | Cmax
PWM3Pole | Cmin
PWM3Pole | Cntr1
PWM3Pole | Cntr2
PWM3Pole | ConnectionFrameTemplateName
PWM3Pole | CregIni
PWM3Pole | CTheta
PWM3Pole | DSLType
PWM3Pole | ExtendedModel
PWM3Pole | Fr
PWM3Pole | IdleLosses
PWM3Pole | ILIM
PWM3Pole | InitCTheta
PWM3Pole | K
PWM3Pole | KLM
PWM3Pole | KLT
PWM3Pole | LinePort
PWM3Pole | MaxModulation
PWM3Pole | MaxUdc
PWM3Pole | MinUdc
PWM3Pole | R
PWM3Pole | RP
PWM3Pole | SetValue1
PWM3Pole | SetValue2
PWM3Pole | SN
PWM3Pole | SWB
PWM3Pole | SwLosses
PWM3Pole | TF
PWM3Pole | TFB
PWM3Pole | TFLM
PWM3Pole | TFLT
PWM3Pole | ThetaIni
PWM3Pole | Ti
PWM3Pole | TILM
PWM3Pole | TILT
PWM3Pole | UB1
PWM3Pole | UB2
PWM3Pole | UN
PWM3Pole | X
PWM3Pole | XC
PWM3Pole | XQ
PWM3Pole | XT
PWM3Pole | Z
Pylon
Internal Element Type | Member | Unit
Pylon | Re
Reactor
Internal Element Type | Member | Unit
Reactor | FrequencyDependence
Reactor | Ir | A
Reactor | Proz_wert
Reactor | Ukr | %
Reactor | Ukr0 | %
Reactor | Ur | kV
Reactor | Urr | %
Reactor | Urr0 | %
Regulator
Internal Element Type | Member | Unit
Regulator | Bitmap
Regulator | CimType
Regulator | IsUserDefined
Regulator | PsseType
Regulator | RegulatorName
Regulator | RegulatorType
SerieEarthRLC
Internal Element Type | Member | Unit
SerieEarthRLC | C | uF
SerieEarthRLC | ConnectionType
SerieEarthRLC | FrequencyDependence
SerieEarthRLC | L | mH
SerieEarthRLC | Proz_wert
SerieEarthRLC | R | Ohm
SerieEarthRLC | Ur | kV
SerieRLC
Internal Element Type | Member | Unit
SerieRLC | C | uF
SerieRLC | C0 | uF
SerieRLC | FrequencyDependence
SerieRLC | Ipr | kA
SerieRLC | Ir | A
SerieRLC | IsMOV
SerieRLC | L | mH
SerieRLC | Proz_wert
SerieRLC | Rv | Ohm
SerieRLC | Ur | V
SerieTransformator
Internal Element Type | Member | Unit
SerieTransformator | busContrside
SerieTransformator | CntrlActive
SerieTransformator | Delta_u
SerieTransformator | Schagru
SerieTransformator | SchagruIndex
SerieTransformator | SN
SerieTransformator | Tapakt
SerieTransformator | Tapmax
SerieTransformator | Tapmin
SerieTransformator | Tapmit
SerieTransformator | Uk
SerieTransformator | UN1
SerieTransformator | UN2
SerieTransformator | USoll
SerieTransformator | Vcu
Shunt
Internal Element Type | Member | Unit
Shunt | ActiveZE | %
Shunt | AdmitanceBlockXML
Shunt | AdmitBlock
Shunt | AdmitStep
Shunt | ConnectionType
Shunt | ConsiderOtherCoils
Shunt | CosPhiCntrlSide
Shunt | CosPhiLimitMax
Shunt | CosPhiLimitMin
Shunt | CosPhiSet
Shunt | Cost
Shunt | FrequencyDependence
Shunt | HasCosPhiCntrl
Shunt | HasCosPhiLimits
Shunt | IsCosCntrlSetCap
Shunt | IsCosLimitMaxCap
Shunt | IsCosLimitMinCap
Shunt | IsEartingTrafo
Shunt | IsRemoteCntrl
Shunt | OtherElemPort
Shunt | P0 | MW
Shunt | P1 | MW
Shunt | Priority
Shunt | Proz_wert
Shunt | Q0 | Mvar
Shunt | Q1 | Mvar
Shunt | RE | Ohm
Shunt | Regulation
Shunt | Sr | MVA
Shunt | Ukr0 | %
Shunt | Ur | kV
Shunt | Urr0 | %
Shunt | Uset | %
Shunt | XE | Ohm
STATCOM
Internal Element Type | Member | Unit
STATCOM | CurrSourceModel
STATCOM | ImaxC
STATCOM | ImaxL
STATCOM | IsFixedQ
STATCOM | P
STATCOM | P0
STATCOM | Priority
STATCOM | Q0
STATCOM | Qfixed | Mvar
STATCOM | Transformer
STATCOM | Uref
STATCOM | Xsl
Station
Internal Element Type | Member | Unit
Station | location
Station | municipality
Station | stationType
SVC
Internal Element Type | Member | Unit
SVC | ConnectionFrameTemplateName
SVC | IsFixedQ
SVC | Priority
SVC | Qc | Mvar
SVC | Qfixed | Mvar
SVC | Ql | Mvar
SVC | Transformer
SVC | Ur | kV
SVC | Uref | %
SVC | Xsl | %
SVS
Internal Element Type | Member | Unit
SVS
Internal Element Type | Member | Unit
SVS
Internal Element Type | Member | Unit
SynchronousMachine
Internal Element Type | Member | Unit
SynchronousMachine | ActiveZE
SynchronousMachine | AD
SynchronousMachine | AngleSet | Â°
SynchronousMachine | AQ
SynchronousMachine | AssessmentAt
SynchronousMachine | AssessmentTime
SynchronousMachine | BD
SynchronousMachine | BQ
SynchronousMachine | CapabilityCurveActive
SynchronousMachine | CapabilityCurveEt
SynchronousMachine | ConnectionFrameTemplateName
SynchronousMachine | ConsiderSaturation
SynchronousMachine | ControlledNodeName
SynchronousMachine | ControlType
SynchronousMachine | CosCntrlType
SynchronousMachine | CosMax
SynchronousMachine | CosMin
SynchronousMachine | CosOper
SynchronousMachine | CosPhi
SynchronousMachine | CostFac1
SynchronousMachine | CostFac2
SynchronousMachine | CostFac3
SynchronousMachine | CostMulti
SynchronousMachine | D
SynchronousMachine | DQRef
SynchronousMachine | Droop
SynchronousMachine | DynMachinType
SynchronousMachine | DynModelType
SynchronousMachine | EarthingType
SynchronousMachine | EOper | pu
SynchronousMachine | F_in_Hz
SynchronousMachine | factorP
SynchronousMachine | factorQ
SynchronousMachine | FlickerActive
SynchronousMachine | FrequencyDependence
SynchronousMachine | H
SynchronousMachine | HarmonicSource
SynchronousMachine | IaD
SynchronousMachine | IaQ
SynchronousMachine | IbD
SynchronousMachine | IbQ
SynchronousMachine | IcD
SynchronousMachine | IcQ
SynchronousMachine | IEC
SynchronousMachine | Ik1Max | kA
SynchronousMachine | Ik1Min | kA
SynchronousMachine | Ik2Max | kA
SynchronousMachine | Ik2Min | kA
SynchronousMachine | Ikk | kA
SynchronousMachine | IkPFmax
SynchronousMachine | IsAmortWinding
SynchronousMachine | IsBlockGenerator
SynchronousMachine | IsCosMaxCap
SynchronousMachine | IsCosMinCap
SynchronousMachine | IsCosOperCap
SynchronousMachine | IsHarmonicSource
SynchronousMachine | ISkPF1p
SynchronousMachine | ISkPF2p
SynchronousMachine | ISkPF2pE
SynchronousMachine | ISkPF3p
SynchronousMachine | IsMotor
SynchronousMachine | IsSlopeActive
SynchronousMachine | IsVariableLoad
SynchronousMachine | MinimumSCCheck
SynchronousMachine | Mue
SynchronousMachine | nHydroPlantType
SynchronousMachine | nProductionType
SynchronousMachine | nThermalFuelType
SynchronousMachine | nWindPlantType
SynchronousMachine | p_scale
SynchronousMachine | PhaseType
SynchronousMachine | Plimi
SynchronousMachine | Pmax | MW
SynchronousMachine | Pmin | MW
SynchronousMachine | Poper | MW
SynchronousMachine | PortionQ
SynchronousMachine | PortionSlack | %
SynchronousMachine | PowerQualityCouplingBusbar
SynchronousMachine | Priority
SynchronousMachine | Proz_wert
SynchronousMachine | PSwithConverter
SynchronousMachine | pUrg | %
SynchronousMachine | q_scale
SynchronousMachine | Qmax | Mvar
SynchronousMachine | Qmin | Mvar
SynchronousMachine | Qoper | Mvar
SynchronousMachine | R
SynchronousMachine | r1d
SynchronousMachine | r1q
SynchronousMachine | R1toX1
SynchronousMachine | R2
SynchronousMachine | r2q
SynchronousMachine | RE
SynchronousMachine | RelIdeal
SynchronousMachine | RelLoadCharact
SynchronousMachine | RelPriority
SynchronousMachine | RelStartupPriority
SynchronousMachine | RelType
SynchronousMachine | RemoteControl
SynchronousMachine | rfd
SynchronousMachine | Rg | Ohm
SynchronousMachine | SaturationFormulaTypeD
SynchronousMachine | SaturationFormulaTypeQ
SynchronousMachine | SaturationTypeD
SynchronousMachine | SaturationTypeQ
SynchronousMachine | ScalingType
SynchronousMachine | SCG74Check
SynchronousMachine | Se1D
SynchronousMachine | Se1Q
SynchronousMachine | Se2D
SynchronousMachine | Se2Q
SynchronousMachine | SkUnbalance
SynchronousMachine | Sr | MVA
SynchronousMachine | staticGenerator
SynchronousMachine | StaticHzMw
SynchronousMachine | strPMode
SynchronousMachine | strQMode
SynchronousMachine | Td01
SynchronousMachine | Td02
SynchronousMachine | Td1
SynchronousMachine | Td2
SynchronousMachine | TDC
SynchronousMachine | TimeConstantType
SynchronousMachine | Tq01
SynchronousMachine | Tq02
SynchronousMachine | Tq1
SynchronousMachine | Tq2
SynchronousMachine | TypeLF
SynchronousMachine | TypeOfSM
SynchronousMachine | UfToUfMax
SynchronousMachine | UnbalanceLimit
SynchronousMachine | Ur | kV
SynchronousMachine | URef
SynchronousMachine | UrSlope
SynchronousMachine | UseCannay
SynchronousMachine | UserDefinedCurve
SynchronousMachine | Uset | %
SynchronousMachine | VoltageUnbalance
SynchronousMachine | X0 | %
SynchronousMachine | x1d
SynchronousMachine | x1q
SynchronousMachine | X2 | %
SynchronousMachine | x2q
SynchronousMachine | xad
SynchronousMachine | xaq
SynchronousMachine | XC
SynchronousMachine | Xd
SynchronousMachine | Xd1 | %
SynchronousMachine | Xd1Sat | %
SynchronousMachine | Xd2 | %
SynchronousMachine | Xd2sat | %
SynchronousMachine | XdSat | %
SynchronousMachine | XE
SynchronousMachine | xfd
SynchronousMachine | Xl
SynchronousMachine | Xq
SynchronousMachine | Xq1
SynchronousMachine | Xq2
SynchronousMachine | xrc
SynchronousMachine | Z0toZ1
SynchronousMachine | Z2toZ1
Table
Internal Element Type | Member | Unit
Table | TableType
TCSC
Internal Element Type | Member | Unit
TCSC | Control
TCSC | Iset
TCSC | MaxVolDrop
TCSC | ModuleOper
TCSC | NumModules
TCSC | Pset
TCSC | Thetamax
TCSC | Thetamin
TCSC | ThetaXLimits
TCSC | TrAngleSet
TCSC | Xc
TCSC | Xl
TCSC | Xmax
TCSC | Xmin
TCSC | XtotSet
Trafo2Winding
Internal Element Type | Member | Unit
Trafo2Winding | Beta | Â°
Trafo2Winding | Beta2 | Â°
Trafo2Winding | CntrlSide
Trafo2Winding | CompIminOnSameAxisAsImax
Trafo2Winding | CompUseCurve
Trafo2Winding | ConnectionFrameTemplateName
Trafo2Winding | ConsiderImpedanceVariation
Trafo2Winding | ConsiderOtherCoils
Trafo2Winding | ConsiderPhaseVariation
Trafo2Winding | ControlledNodeName
Trafo2Winding | Converter_Wind_Station
Trafo2Winding | CosB
Trafo2Winding | D3SinglePhaseTrafo
Trafo2Winding | DeltaU | %
Trafo2Winding | DeltaU2 | %
Trafo2Winding | EarthingType1
Trafo2Winding | EarthingType2
Trafo2Winding | FactorForANSICurve
Trafo2Winding | FrequencyDependence
Trafo2Winding | HasCommenEarthing
Trafo2Winding | I0 | %
Trafo2Winding | I0_L1 | %
Trafo2Winding | I0_L2 | %
Trafo2Winding | I0_L3 | %
Trafo2Winding | IbMax
Trafo2Winding | ImaxComp
Trafo2Winding | IminComp
Trafo2Winding | Ir1Limit1 | A
Trafo2Winding | Ir1Limit2 | A
Trafo2Winding | Ir1Limit3 | A
Trafo2Winding | Ir1Limit4 | A
Trafo2Winding | Ir2Limit1 | A
Trafo2Winding | Ir2Limit2 | A
Trafo2Winding | Ir2Limit3 | A
Trafo2Winding | Ir2Limit4 | A
Trafo2Winding | IsAutoTrafo
Trafo2Winding | IsCompensationWinding
Trafo2Winding | IsCompounding
Trafo2Winding | IsOperValueActive
Trafo2Winding | IsQRegulated
Trafo2Winding | IsRegulated
Trafo2Winding | IsRegulated2
Trafo2Winding | IsSwitchable
Trafo2Winding | IsTapChanger2Active
Trafo2Winding | IsUnitTrafo
Trafo2Winding | KP
Trafo2Winding | LimitsIrOrSr
Trafo2Winding | LinearPhaseShifter
Trafo2Winding | LMsat
Trafo2Winding | LMuns
Trafo2Winding | OperatingTemp | Â°
Trafo2Winding | Pfe | kW
Trafo2Winding | PFe_L1 | kW
Trafo2Winding | PFe_L2 | kW
Trafo2Winding | PFe_L3 | kW
Trafo2Winding | phiresA
Trafo2Winding | phiresB
Trafo2Winding | phiresC
Trafo2Winding | Priority
Trafo2Winding | Proz_wert
Trafo2Winding | Pset | %
Trafo2Winding | pTap
Trafo2Winding | Qset
Trafo2Winding | Re1
Trafo2Winding | Re2
Trafo2Winding | RelIdeal
Trafo2Winding | RelType
Trafo2Winding | RemoteControl
Trafo2Winding | Sr | MVA
Trafo2Winding | Sr_L1 | MVA
Trafo2Winding | Sr_L2 | MVA
Trafo2Winding | Sr_L3 | MVA
Trafo2Winding | SrLimit1 | MVA
Trafo2Winding | SrLimit2 | MVA
Trafo2Winding | SrLimit3 | MVA
Trafo2Winding | SrLimit4 | MVA
Trafo2Winding | SymmetricalPhaseShifter
Trafo2Winding | TapAct
Trafo2Winding | TapAct2
Trafo2Winding | TapMax
Trafo2Winding | TapMax2
Trafo2Winding | TapMaxUk
Trafo2Winding | TapMaxUk0
Trafo2Winding | TapMin
Trafo2Winding | TapMin2
Trafo2Winding | TapMinUk
Trafo2Winding | TapMinUk0
Trafo2Winding | TapRated
Trafo2Winding | TapRated2
Trafo2Winding | TapSide
Trafo2Winding | TapSide2
Trafo2Winding | TypeOfFault
Trafo2Winding | UbMax
Trafo2Winding | UbMin
Trafo2Winding | Uk010
Trafo2Winding | Uk020
Trafo2Winding | Ukr | %
Trafo2Winding | Ukr_L1 | %
Trafo2Winding | Ukr_L2 | %
Trafo2Winding | Ukr_L3 | %
Trafo2Winding | Ukr0 | %
Trafo2Winding | Ukr0_L1 | %
Trafo2Winding | Ukr0_L2 | %
Trafo2Winding | Ukr0_L3 | %
Trafo2Winding | ULTC_ctrlType
Trafo2Winding | ULTC_Deadband
Trafo2Winding | ULTC_DelayType
Trafo2Winding | ULTC_Model
Trafo2Winding | ULTC_TD0
Trafo2Winding | ULTC_TD1
Trafo2Winding | ULTC_TM0
Trafo2Winding | UmaxComp
Trafo2Winding | UminComp
Trafo2Winding | Ur1 | kV
Trafo2Winding | Ur1_L1 | kV
Trafo2Winding | Ur1_L2 | kV
Trafo2Winding | Ur1_L3 | kV
Trafo2Winding | Ur2 | kV
Trafo2Winding | Ur2_L1 | kV
Trafo2Winding | Ur2_L2 | kV
Trafo2Winding | Ur2_L3 | kV
Trafo2Winding | Urr | %
Trafo2Winding | Urr_L1 | %
Trafo2Winding | Urr_L2 | %
Trafo2Winding | Urr_L3 | %
Trafo2Winding | Urr0 | %
Trafo2Winding | Urr0_L1 | %
Trafo2Winding | Urr0_L2 | %
Trafo2Winding | Urr0_L3 | %
Trafo2Winding | UserDefinedCurve
Trafo2Winding | Uset | %
Trafo2Winding | VectorGroup
Trafo2Winding | Xe1
Trafo2Winding | Xe2
Trafo2Winding | ZeActive1
Trafo2Winding | ZeActive2
Trafo2Winding | ZlimitYY
Trafo2WindingAsym
Internal Element Type | Member | Unit
Trafo2WindingAsym | AutoTrafo
Trafo2WindingAsym | CntrSide
Trafo2WindingAsym | DeltaU | %
Trafo2WindingAsym | FrequencyDependence
Trafo2WindingAsym | HasNegativePolarity
Trafo2WindingAsym | I0 | %
Trafo2WindingAsym | IsrRegulated
Trafo2WindingAsym | IsSwitchable
Trafo2WindingAsym | OperatingTemp | Â°
Trafo2WindingAsym | Pfe | kW
Trafo2WindingAsym | Phase2
Trafo2WindingAsym | Proz_wert
Trafo2WindingAsym | RelIdeal
Trafo2WindingAsym | RelType
Trafo2WindingAsym | Sr | MVA
Trafo2WindingAsym | TapAct
Trafo2WindingAsym | TapMax
Trafo2WindingAsym | TapMin
Trafo2WindingAsym | TapRated
Trafo2WindingAsym | TapSide
Trafo2WindingAsym | TrafoType
Trafo2WindingAsym | Ukr | %
Trafo2WindingAsym | Ur1
Trafo2WindingAsym | Ur2 | kV
Trafo2WindingAsym | Urr | %
Trafo2WindingAsym | Uset | %
Trafo2WindingAsym | VectorGroup
3W transformer
Internal Element Type | Member | Unit
Trafo3Winding | ActiveZE1
Trafo3Winding | ActiveZE2
Trafo3Winding | ActiveZE3
Trafo3Winding | Beta | Â°
Trafo3Winding | Beta2 | Â°
Trafo3Winding | CntrlSide
Trafo3Winding | ConsiderImpedanceVariation
Trafo3Winding | ConsiderPhaseVariation
Trafo3Winding | ControlledNodeName
Trafo3Winding | Converter_Wind_Station
Trafo3Winding | DeltaU | %
Trafo3Winding | DeltaU2 | %
Trafo3Winding | EarthingType1
Trafo3Winding | EarthingType2
Trafo3Winding | EarthingType3
Trafo3Winding | EvaluationIrOrSr
Trafo3Winding | FactorForANSICurve
Trafo3Winding | FrequencyDependence
Trafo3Winding | HasCommenEarthing
Trafo3Winding | I0 | %
Trafo3Winding | Ir1Limit1 | A
Trafo3Winding | Ir1Limit2 | A
Trafo3Winding | Ir1Limit3 | A
Trafo3Winding | Ir1Limit4 | A
Trafo3Winding | Ir2Limit1 | A
Trafo3Winding | Ir2Limit2 | A
Trafo3Winding | Ir2Limit3 | A
Trafo3Winding | Ir2Limit4 | A
Trafo3Winding | Ir3Limit1 | A
Trafo3Winding | Ir3Limit2 | A
Trafo3Winding | Ir3Limit3 | A
Trafo3Winding | Ir3Limit4 | A
Trafo3Winding | IsAutoTrafo
Trafo3Winding | IsBlockTrafo
Trafo3Winding | IsCompensationWinding
Trafo3Winding | IsDifferentialReactor
Trafo3Winding | IsQRegulated
Trafo3Winding | IsRegulated
Trafo3Winding | IsTapChanger2Active
Trafo3Winding | KvDR
Trafo3Winding | OperatingTemp
Trafo3Winding | Pfe | kW
Trafo3Winding | Priority
Trafo3Winding | Proz_wert
Trafo3Winding | Pset | %
Trafo3Winding | Qset
Trafo3Winding | RE1
Trafo3Winding | RE2
Trafo3Winding | RE3
Trafo3Winding | ReferenceVoltageForCurve
Trafo3Winding | RelIdeal
Trafo3Winding | RelType
Trafo3Winding | RemoteControl
Trafo3Winding | SeriesConnectionType
Trafo3Winding | Sr12 | MVA
Trafo3Winding | Sr1Limit1 | MVA
Trafo3Winding | Sr1Limit2 | MVA
Trafo3Winding | Sr1Limit3 | MVA
Trafo3Winding | Sr1Limit4 | MVA
Trafo3Winding | Sr23 | MVA
Trafo3Winding | Sr2Limit1 | MVA
Trafo3Winding | Sr2Limit2 | MVA
Trafo3Winding | Sr2Limit3 | MVA
Trafo3Winding | Sr2Limit4 | MVA
Trafo3Winding | Sr31 | MVA
Trafo3Winding | Sr3Limit1 | MVA
Trafo3Winding | Sr3Limit2 | MVA
Trafo3Winding | Sr3Limit3 | MVA
Trafo3Winding | Sr3Limit4 | MVA
Trafo3Winding | SrDR
Trafo3Winding | SrDR2
Trafo3Winding | TapAct
Trafo3Winding | TapAct2
Trafo3Winding | TapMax
Trafo3Winding | TapMax2
Trafo3Winding | TapMaxUk012
Trafo3Winding | TapMaxUk023
Trafo3Winding | TapMaxUk031
Trafo3Winding | TapMaxUk12
Trafo3Winding | TapMaxUk23
Trafo3Winding | TapMaxUk31
Trafo3Winding | TapMin
Trafo3Winding | TapMin2
Trafo3Winding | TapMinUk012
Trafo3Winding | TapMinUk023
Trafo3Winding | TapMinUk031
Trafo3Winding | TapMinUk12
Trafo3Winding | TapMinUk23
Trafo3Winding | TapMinUk31
Trafo3Winding | TapRated
Trafo3Winding | TapRated2
Trafo3Winding | TapSide
Trafo3Winding | TapSide2
Trafo3Winding | TypeOfFault
Trafo3Winding | Ukr012 | %
Trafo3Winding | Ukr023 | %
Trafo3Winding | Ukr031 | %
Trafo3Winding | Ukr12 | %
Trafo3Winding | Ukr23 | %
Trafo3Winding | Ukr31 | %
Trafo3Winding | UkrDR
Trafo3Winding | UkrDR2
Trafo3Winding | Ur1 | kV
Trafo3Winding | Ur2 | kV
Trafo3Winding | Ur3 | kV
Trafo3Winding | UrDR
Trafo3Winding | UrDR2
Trafo3Winding | Urr012 | %
Trafo3Winding | Urr023 | %
Trafo3Winding | Urr031 | %
Trafo3Winding | Urr12 | %
Trafo3Winding | Urr23 | %
Trafo3Winding | Urr31 | %
Trafo3Winding | UrrDR
Trafo3Winding | UrrDR2
Trafo3Winding | UserDefinedCurve
Trafo3Winding | Uset | %
Trafo3Winding | VectorGroup
Trafo3Winding | XE1
Trafo3Winding | XE2
Trafo3Winding | XE3
Trafo3Winding | ZlimitYY
Trafo4Winding
Internal Element Type | Member | Unit
Trafo4Winding | Delta_u | %
Trafo4Winding | ErdType1
Trafo4Winding | ErdType2
Trafo4Winding | ErdType3
Trafo4Winding | ErdType4
Trafo4Winding | FrequencyDependence
Trafo4Winding | OperatingTemp | Â°
Trafo4Winding | Proz_wert
Trafo4Winding | Re1
Trafo4Winding | Re2
Trafo4Winding | Re3
Trafo4Winding | Re4
Trafo4Winding | Schagru12
Trafo4Winding | Schagru13
Trafo4Winding | Schagru14
Trafo4Winding | Seiten
Trafo4Winding | Sr1 | MVA
Trafo4Winding | Sr2 | MVA
Trafo4Winding | Sr3 | MVA
Trafo4Winding | Sr4 | MVA
Trafo4Winding | Tapakt
Trafo4Winding | Tapmax
Trafo4Winding | Tapmin
Trafo4Winding | Tapmit
Trafo4Winding | Uk012 | %
Trafo4Winding | Uk013 | %
Trafo4Winding | Uk014 | %
Trafo4Winding | Uk023 | %
Trafo4Winding | Uk024 | %
Trafo4Winding | Uk034 | %
Trafo4Winding | Uk12 | %
Trafo4Winding | Uk13 | %
Trafo4Winding | Uk14 | %
Trafo4Winding | Uk23 | %
Trafo4Winding | Uk24 | %
Trafo4Winding | Uk34 | %
Trafo4Winding | Ur1 | kV
Trafo4Winding | Ur2 | kV
Trafo4Winding | Ur3 | kV
Trafo4Winding | Ur4 | kV
Trafo4Winding | Vcu12 | %
Trafo4Winding | Vcu13 | %
Trafo4Winding | Vcu14 | %
Trafo4Winding | Vcu23 | %
Trafo4Winding | Vcu24 | %
Trafo4Winding | Vcu34 | %
Trafo4Winding | Xe1
Trafo4Winding | Xe2
Trafo4Winding | Xe3
Trafo4Winding | Xe4
Trafo4Winding | Ze1_activ
Trafo4Winding | Ze2_activ
Trafo4Winding | Ze3_activ
Trafo4Winding | Ze4_activ
TrafoRegulator
Internal Element Type | Member | Unit
TrafoRegulator | Bandw1 | V
TrafoRegulator | Bandw2 | V
TrafoRegulator | Bandw3 | V
TrafoRegulator | CntrlSide
TrafoRegulator | Connection
TrafoRegulator | CTCur1 | A
TrafoRegulator | CTCur2 | A
TrafoRegulator | CTCur3 | A
TrafoRegulator | DeltaU1 | %
TrafoRegulator | DeltaU2 | %
TrafoRegulator | DeltaU3 | %
TrafoRegulator | FrequencyDependence
TrafoRegulator | Ir | A
TrafoRegulator | IsLineCompActive
TrafoRegulator | IsRegulating
TrafoRegulator | IsThyristorBased
TrafoRegulator | OpenDelta
TrafoRegulator | Proz_wert
TrafoRegulator | PTRatio1
TrafoRegulator | PTRatio2
TrafoRegulator | PTRatio3
TrafoRegulator | RegulateOnSetValue
TrafoRegulator | Rset1 | V
TrafoRegulator | Rset2 | V
TrafoRegulator | Rset3 | V
TrafoRegulator | SameRegulators
TrafoRegulator | TapAct1
TrafoRegulator | TapAct2
TrafoRegulator | TapAct3
TrafoRegulator | TapMax1
TrafoRegulator | TapMax2
TrafoRegulator | TapMax3
TrafoRegulator | TapMin1
TrafoRegulator | TapMin2
TrafoRegulator | TapMin3
TrafoRegulator | Uk | %
TrafoRegulator | Ur1 | kV
TrafoRegulator | Uset1 | %
TrafoRegulator | Uset2 | %
TrafoRegulator | Uset3 | %
TrafoRegulator | Vcu
TrafoRegulator | Vlevel1 | V
TrafoRegulator | Vlevel2 | V
TrafoRegulator | Vlevel3 | V
TrafoRegulator | Xset1 | V
TrafoRegulator | Xset2 | V
TrafoRegulator | Xset3 | V
Turbine
Internal Element Type | Member | Unit
VoltageTransformer
Internal Element Type | Member | Unit
VoltageTransformer | IsActive
VoltageTransformer | Ur1
VoltageTransformer | Ur2